## About
PTCF Peak Time Capacity Factors | Louisiana
Source: | California Market | Texas Market | Southwest Market
| California Independent System Operator | Electric Reliability Council of Texas | Southwest Power Pool
| 2020 | 2016 | 2019
| Final 2020 Net Qualifying Capacity for Resource Adequacy Resources | CDR Peak Values for Solar PV and Wind by Season | Solar and Wind ELCC Accreditation
| http://www.caiso.com/Documents/NetQualifyingCapacityList-2020.xls | http://www.ercot.com/gridinfo/resource | https://www.spp.org/documents/61025/elcc%20solar%20and%20wind%20accreditation.pdf
2020 Technology Factors
| Midwest Market | Mid Atlantic Market | California Market Energy
| Midcontinent Independent System Operator | PJM | CAISO
| 2019 | 2017 | 2020
| Planning Year 2020-2021 Wind & Solar Capacity Credit | Class Average Capacity Factors | 2019 Annual Report on Market Issues & Performance
| https://cdn.misoenergy.org/2020%20Wind%20&%20Solar%20Capacity%20Credit%20Report408144.pdf | https://www.pjm.com/-/media/planning/res-adeq/class-average-wind-capacity-factors.ashx?la=en | http://www.caiso.com/Documents/2019AnnualReportonMarketIssuesandPerformance.pdf
| p.16 | p.5-6 | Table 1.1
| New England Market - Solar | Offshore Wind, Onshore Wind for PJM, ISO-NE, and NYISO | New York Market Energy
| ISO New England | LBNL | NYISO
| 2015 | 2018 | 2020
| Intermittent Resource Review | Estimating the Value of Offshore Wind Along the United States’ Eastern Coast | 2020 Load and Capacity Data
| http://www.iso-ne.com/static-assets/documents/2015/12/vrwg_intermittent_resource_qual_tool_status_update_12072015.pdf | https://www.nps.edu/documents/114698888/117879842/Offshore_WInd_Value_Navy_Postgraduate_School_Final.pdf/f4368eea-e0e0-4fba-a925-00f5d365b887?t=1542325871000 | https://www.nyiso.com/documents/20142/2226333/2020-Gold-Book-Final-Public.pdf/9ff426ab-e325-28bc-97cf-106d792593a1
| pp. 4 & 7 | p.27 | Table I-1a
New England Market Energy
ISO-NE
Notes |  |  | 2020
Peak time capacity factors are meant to represent the average availability of resources to meeting peak |  |  | 2020 CELT Report
during the peak hours of the year in the summer and winter seasons. |  |  | https://www.iso-ne.com/system-planning/system-plans-studies/celt
Table 1.5.2 Energy
For renewable resources (e.g. wind and solar PV) we use values from each of the 6 U.S. regional markets.
As part of the resource planning process, operators of these markets are required to assess available resources during
peak hours of the year.
We take factors where available from each of the markets and weight the values by the share
of system load from each region to generate a weighted average peak time capacity factor
for different resources across the US.

## CAISO - CF
2020 ELCC Values and Technology Factors
Non-Dispatchable Solar, Wind, Biomass, Cogeneration, Geothermal, and
Hydro Technology Factors for Compliance Year 2020
Solar PV and Solar Thermal
| Month | CY 2020 Solar ELCC
| 1 | 4%
| 2 | 3%
| 3 | 18%
| 4 | 15%
| 5 | 16%
| 6 | 31%
| 7 | 39%
| 8 | 27%
| 9 | 14%
| 10 | 2%
| 11 | 2%
| 12 | 0%
Wind
| Month | CY 2020 Wind ELCC
| 1 | 14%
| 2 | 12%
| 3 | 28%
| 4 | 25%
| 5 | 25%
| 6 | 33%
| 7 | 23%
| 8 | 21%
| 9 | 15%
| 10 | 8%
| 11 | 12%
| 12 | 13%
Biomass
| Month | 2016 | 2017 | 2018 | CY 2020 Biomass Factor
| 1 | 87% | 73% | 85% | 82%
| 2 | 91% | 85% | 84% | 86%
| 3 | 84% | 82% | 86% | 84%
| 4 | 76% | 74% | 79% | 76%
| 5 | 84% | 83% | 83% | 83%
| 6 | 92% | 88% | 86% | 89%
| 7 | 91% | 83% | 87% | 87%
| 8 | 91% | 90% | 89% | 90%
| 9 | 92% | 87% | 90% | 90%
| 10 | 80% | 78% | 84% | 81%
| 11 | 86% | 83% | 85% | 85%
| 12 | 88% | 85% | 86% | 86%
Cogeneration
| Month | 2016 | 2017 | 2018 | CY 2020 Cogeneration Factor
| 1 | 87% | 75% | 80% | 81%
| 2 | 84% | 82% | 71% | 79%
| 3 | 70% | 74% | 75% | 73%
| 4 | 67% | 63% | 68% | 66%
| 5 | 83% | 76% | 79% | 79%
| 6 | 85% | 86% | 84% | 85%
| 7 | 86% | 84% | 79% | 83%
| 8 | 81% | 82% | 85% | 83%
| 9 | 78% | 83% | 80% | 80%
| 10 | 73% | 69% | 74% | 72%
| 11 | 80% | 81% | 72% | 78%
| 12 | 81% | 84% | 82% | 82%
Geothermal
| Month | 2016 | 2017 | 2018 | CY 2020 Geothermal Factor
| 1 | 95% | 97% | 94% | 95%
| 2 | 89% | 93% | 94% | 92%
| 3 | 88% | 85% | 90% | 88%
| 4 | 79% | 87% | 63% | 76%
| 5 | 69% | 80% | 71% | 74%
| 6 | 67% | 70% | 74% | 70%
| 7 | 77% | 84% | 91% | 84%
| 8 | 76% | 75% | 95% | 82%
| 9 | 78% | 78% | 93% | 83%
| 10 | 86% | 82% | 91% | 86%
| 11 | 90% | 93% | 95% | 93%
| 12 | 94% | 94% | 98% | 95%
Hydro
| Month | 2016 | 2017 | 2018 | CY 2020 Hydro Factor
| 1 | 59% | 58% | 61% | 60%
| 2 | 76% | 68% | 65% | 70%
| 3 | 70% | 83% | 67% | 73%
| 4 | 68% | 77% | 73% | 72%
| 5 | 70% | 64% | 72% | 69%
| 6 | 72% | 77% | 72% | 74%
| 7 | 66% | 80% | 74% | 73%
| 8 | 74% | 72% | 70% | 72%
| 9 | 65% | 72% | 77% | 71%
| 10 | 57% | 64% | 69% | 64%
| 11 | 53% | 60% | 55% | 56%
| 12 | 60% | 73% | 58% | 64%
Please refer any questions regarding these tables to:
Simone Brant, CPUC, 415-703-5239, simone.brant@cpuc.ca.gov

## ERCOT - CF
PEAK AVERAGE WIND CAPACITY PERCENTAGES, WINTER PEAK SEASONS
WINDPEAKPCT Values (Weighted Averages based on Installed Wind Capacity)*
Winter Peak Ave. Wind Capacity Percentages and Total Unit Capacities | [6 empty] | Winter, Panhandle | Winter, Coastal | Winter, Other
Top Twenty Peak Hours for Each year | [6 empty] | 32.49% | 42.75% | 19.17%
CDR Wind Region | Panhandle |  | Coastal |  | Other
Year | Capacity Contribution Percentage | Capacity (MW) | Capacity Contribution Percentage | Capacity (MW) | Capacity Contribution Percentage | Capacity (MW) | * The methodology for calculating WINDPEAKPCT values is outlined in ERCOT Protocol Section 3.2.6.2.2. See: http://www.ercot.com/content/wcm/current_guides/53528/03-030120_Nodal.docx
2019-2020 | 38.12% | 4197.6 | 33.96% | 2974.4 | 27.53% | 15598.8
2018-2019 | 39.81% | 4197 | 39.12% | 2610.6 | 20.96% | 14730.2
2017-2018 | 33.29% | 4197 | 51.88% | 2382.6 | 14.26% | 11996.3
2016-2017 | 19.94% | 3609 | 79.34% | 2038.4 | 14.29% | 10821.7
2015-2016 | 28.45% | 2670.5 | 27.02% | 1875.4 | 28.44% | 10494.9
2014-2015 | 22.71% | 207 | 42.28% | 1671.4 | 10.7% | 8858.8
2013-2014 | 36.17% | 207 | 43.66% | 1269.7 | 17.27% | 8789.4
2012-2013 | 23.05% | 207 | 32.47% | 1066.4 | 16.69% | 7999.2
2011-2012 | 38.47% | 207 | 15.74% | 965.6 | 20.28% | 7670.7
2010-2011 | 34.47% | 206.957 | 48.41% | 965.55 | 14.3% | 8023.935
PEAK AVERAGE SOLAR CAPACITY PERCENTAGES, WINTER PEAK SEASONS
SOLARPEAKPCT Value (Weighted Average based on Installed Solar Capacity) *
Winter Peak Ave. Solar Capacity Percentages and Total Unit Capacities |  |  |  | Winter
Top Twenty Peak Hours for Each year |  |  |  | 6.862%
Year | Capacity Contribution Percentage | Capacity (MW)
2019/2020 | 3.868% | 2020.2
2018/2019 | 9.185% | 1404
2017/2018 | 9.861% | 928.7 |  | * The methodology for calculating SOLARPEAKPCT values is outlined in ERCOT Protocol Section 3.2.6.2.2. See: http://www.ercot.com/content/wcm/current_guides/53528/03-030120_Nodal.docx
PEAK AVERAGE SOLAR CAPACITY PERCENTAGES, SUMMER PEAK SEASONS
Summer Peak Ave. Solar Capacity Percentages
Top Twenty Peak Hours for Each year |  |  |  | SOLARPEAKPCT Values *
Year | Average Solar Cap Percentage | MW Solar Capacity |  | 76.32%
2019 | 73.99% | 1636
2018 | 79.6% | 1254
2017 | 75.9% | 715.8
PEAK AVERAGE WIND CAPACITY PERCENTAGES, SUMMER PEAK SEASONS
WINDPEAKPCT Values *
Summer Peak Ave. Wind Capacity Percentages and Total Unit Capacities | [6 empty] | Summer, Panhandle | Summer, Coastal | Summer, Other
Top Twenty Peak Hours for Each year | [6 empty] | 29.28% | 63.29% | 15.77%
CDR Wind Region | Panhandle |  | Coastal |  | Other
Year | Capacity Contribution Percentage | Capacity (MW) | Capacity Contribution Percentage | Capacity (MW) | Capacity Contribution Percentage | Capacity (MW) | * The methodology for calculating WINDPEAKPCT values is outlined in ERCOT Protocol Section 3.2.6.2.2. See: http://www.ercot.com/content/wcm/current_guides/53528/03-101819_Nodal.docx
2019 | 34.12% | 4197 | 75.05% | 2811.6 | 22.15% | 14949.9
2018 | 25.6% | 4197 | 52.91% | 2610.6 | 17.11% | 14289.9
2017 | 24.88% | 3171.2 | 62.93% | 2038.4 | 20.18% | 12241.2
2016 | 49.43% | 2126.7 | 73.56% | 1873.4 | 18.24% | 10447.5
2015 | 18.26% | 1476.9 | 52.03% | 1873.4 | 10.05% | 9563
2014 | 21.14% | 207 | 60.04% | 1671.4 | 20.11% | 8955.2
2013 | 10.93% | 207 | 76.61% | 1269.7 | 12.63% | 8955.2
2012 | 10.13% | 207 | 52.84% | 1066.4 | 7.832% | 8075
2011 | 12.45% | 207 | 65.96% | 965.6 | 12.78% | 7746.5
2010 | 7.06% | 207 | 24.69% | 160.8 | 6.233% | 6663.3

## WECC
Released: November 2017
Next Update: November 2018
Table 3B.1. WECC monthly peak hour demand, by North American Electric Reliability Corporation Assesment Area,
1996-2016 actual, 2017-2018 projected
megawatts
WECC | Year | January | February | March | April | May | June | July | August | September | October | November | December
Actual | 1996 | 95306 | 94878 | 86486 | 89912 | 91930 | 99203 | 108739 | 107790 | 98006 | 95427 | 87466 | 94331
| 1997 | 95886 | 89483 | 89505 | 88124 | 99796 | 98340 | 104361 | 110001 | 105659 | 95236 | 89470 | 93132
| 1998 | 95102 | 90267 | 89009 | 88242 | 84051 | 97617 | 111830 | 115921 | 112705 | 92543 | 88524 | 101822
| 1999 | 91641 | 91773 | 87599 | 87821 | 91165 | 105404 | 113629 | 109873 | 102526 | 96329 | 90741 | 96875
| 2000 | 95673 | 91627 | 91044 | 94250 | 104053 | 111600 | 114472 | 114602 | 107797 | 97398 | 95483 | 97324
| 2001 | 96766 | 93801 | 87641 | 90023 | 100484 | 105427 | 108629 | 109119 | 101320 | 97762 | 91851 | 95286
| 2002 | 96555 | 93195 | 90041 | 88714 | 104110 | 111108 | 119074 | 114763 | 111475 | 99967 | 92834 | 95951
| 2003 | 92602 | 93831 | 91002 | 89713 | 110358 | 112627 | 122537 | 119473 | 113594 | 103327 | 94291 | 99793
| 2004 | 102049 | 95546 | 95191 | 101654 | 105503 | 111143 | 123136 | 122922 | 116784 | 96429 | 100001 | 101541
| 2005 | 102464 | 96789 | 90859 | 90623 | 106680 | 115821 | 130760 | 125253 | 113824 | 101470 | 100361 | 107493
| 2006 | 99571 | 101154 | 97101 | 93098 | 110713 | 129742 | 142096 | 127749 | 122420 | 103797 | 107335 | 108617
| 2007 | 107097 | 101215 | 98234 | 98980 | 107541 | 126064 | 137488 | 139389 | 128226 | 99594 | 100700 | 109607
| 2008 | 110395 | 104200 | 97743 | 106357 | 120959 | 134781 | 134052 | 134829 | 122386 | 115877 | 100056 | 113605
| 2009 | 100194.513 | 97674.2085 | 91682.1545 | 99806.4834 | 107913.4994 | 116680.3123 | 128245.1008 | 122834.9867 | 122255.8548 | 91636.1673 | 94362.2612 | 109564.885
| 2010 | 97438.8183 | 94017.7235 | 92308.4222 | 84578.0146 | 89817.8022 | 115881.5406 | 129312.2521 | 129352.3546 | 119103.5229 | 104602.7579 | 102044.0703 | 101667.6682
| 2011 | 105582.1 | 101595.7 | 97085 | 99124 | 112650 | 125732 | 136801 | 137454 | 123796 | 106417 | 102338 | 109297
| 2012 | 99231.7173 | 95158.9105 | 92024.9595 | 91159.6869 | 106556.2327 | 112466.7804 | 126111.8748 | 130465.01 | 116544.415 | 110180.8966 | 94676.3232 | 101705.7701
| 2013 | 107887.4624 | 96637.4055 | 92153.8534 | 96035.7709 | 109893.4053 | 132218.1289 | 132874.9506 | 124539.9772 | 122621.6609 | 92610.4557 | 96165.35 | 110764.9549
| 2014 | 98544.5 | 102651 | 90891.2 | 92171.5 | 109608.4 | 121659 | 127091.5 | 123491.9 | 120703.1 | 102898.3 | 97935.6 | 104204.5
| 2015 | 98255 | 91813 | 91099 | 96226 | 97113 | 131072 | 127132 | 128684 | 123540 | 108935 | 101143 | 101457
| 2016 | 100315 | 99421 | 91447 | 92268 | 103561 | 133247 | 139431 | 131343 | 115093 | 96692 | 96181 | 10400
Projected | 2017E | 104737 | 102180 | 98101 | 93343 | 108475 | 125996 | 131791 | 133410 | 125256 | 104962 | 102551 | 110022
| 2018E | 105492 | 102228 | 97638 | 94039 | 109456 | 128140 | 132648 | 132558 | 127899 | 106243 | 102527 | 110955

## TRE
Released: November 2017
Next Update: November 2018
Table 3B.1. TRE monthly peak hour demand, by North American Electric Reliability Corporation Assesment Area,
1996-2016 actual, 2017-2018 projected
megawatts
TRE | Year | January | February | March | April | May | June | July | August | September | October | November | December
Actual | 1996 | 36818 | 37705 | 34540 | 35326 | 43742 | 46524 | 47240 | 46807 | 41733 | 34958 | 34597 | 39214
| 1997 | 41280 | 33120 | 31783 | 34216 | 40857 | 45687 | 49705 | 50468 | 49005 | 43533 | 33624 | 36458
| 1998 | 35906 | 33703 | 36836 | 35731 | 48676 | 52259 | 53440 | 54666 | 51981 | 46869 | 32616 | 40566
| 1999 | 39537 | 34343 | 33383 | 41080 | 43529 | 49628 | 52925 | 55529 | 50447 | 43706 | 33615 | 36685
| 2000 | 39075 | 34779 | 38040 | 40399 | 50347 | 49577 | 55767 | 57606 | 57099 | 47781 | 35563 | 44641
| 2001 | 42995 | 35091 | 34090 | 37017 | 44606 | 50918 | 54846 | 55201 | 50073 | 40796 | 41608 | 36557
| 2002 | 43901 | 43837 | 43964 | 49064 | 49018 | 51882 | 54891 | 56248 | 51556 | 49105 | 35901 | 40650
| 2003 | 45433 | 43498 | 37554 | 40579 | 52909 | 53637 | 56251 | 59996 | 49502 | 42651 | 38608 | 40782
| 2004 | 42698 | 42301 | 34321 | 39131 | 48702 | 54061 | 56489 | 58531 | 55179 | 47714 | 37599 | 44010
| 2005 | 40966 | 41095 | 36115 | 41219 | 51947 | 58140 | 57319 | 60210 | 59524 | 52107 | 42470 | 47948
| 2006 | 38604 | 43210 | 38257 | 51800 | 54175 | 57887 | 61660 | 62339 | 56603 | 50890 | 45143 | 46896
| 2007 | 50404 | 50408 | 38827 | 41710 | 49222 | 56427 | 56754 | 62188 | 55091 | 54102 | 39993 | 44443
| 2008 | 46099 | 45321.1677 | 42412.0862 | 45872.2092 | 56343.9001 | 59642.1214 | 61119.6066 | 62174.3766 | 56342.6037 | 46574.7272 | 38746.4511 | 47805.6548
| 2009 | 46165.7808 | 42228 | 40289.2384 | 43488 | 51321 | 62392.6816 | 63517.9408 | 62240.5084 | 55382.6932 | 49089.5112 | 37039.6174 | 46911.6234
| 2010 | 55877.8342 | 47194.7947 | 41440.0878 | 40169.1025 | 54725.4972 | 60789.1431 | 60674.1727 | 65776.3264 | 58200.7414 | 45456.3922 | 40220 | 44715.7344
| 2011 | 49829 | 47953 | 44057 | 47797 | 57620 | 60057 | 63376 | 63770 | 58520 | 52458 | 43440 | 51642
| 2012 | 46908.4905 | 42090.0469 | 42611.0462 | 48774.0356 | 58947.0194 | 66548 | 65807.6913 | 66509 | 64862.2074 | 48274.2721 | 41625.6633 | 45544.7859
| 2013 | 50664.8051 | 40406.9964 | 41709.7986 | 45601.9335 | 56209.2205 | 64418.2945 | 64814 | 67244.5294 | 63387.8513 | 54709.5348 | 46954.2002 | 53642.4399
| 2014 | 57256.3073 | 57010.71 | 54587.4097 | 48400.126 | 52615.3527 | 59785.7728 | 63531.9867 | 66453.6387 | 64439.5577 | 58419.1941 | 50807.3407 | 48361.715
| 2015 | 56831.7803 | 54539.4251 | 53179.5284 | 45227.4211 | 53389.3965 | 61732.2719 | 67650.277 | 69877.0467 | 64458.1963 | 59186.5655 | 44945.1434 | 44934.2488
| 2016 | 49262.5579 | 47416.4923 | 43347.1873 | 50932.0834 | 57223.8273 | 64896.2601 | 67468.9318 | 71110.1039 | 66948.5662 | 59864.268 | 50012.3511 | 57932.4325
Projected | 2017E | 54417.0887 | 52494.9767 | 46877.7555 | 51622.3562 | 58907.8584 | 66915.332 | 68657.2995 | 72933.5504 | 64448.5906 | 56096.8287 | 45791.0068 | 52669.4305
| 2018E | 55003.0884 | 53084.3897 | 47485.5148 | 52357.5752 | 59695.2148 | 67905.3064 | 69666.6232 | 74149.3873 | 65482.9627 | 57090.4945 | 46784.4113 | 53494.8957

## MISO
Released: November 2017
Next Update: November 2018
Table 3B.1. MISO monthly peak hour demand, by North American Electric Reliability Corporation Assesment Area,
1996-2016 actual, 2017-2018 projected
megawatts
MISO | Year | January | February | March | April | May | June | July | August | September | October | November | December
Actual | 1996 | bar: January to December
1997 | bar: January to December
1998 | bar: January to December
1999 | bar: January to December
2000 | bar: January to December
2001 | bar: January to December
2002 | bar: January to December
2003 | bar: January to December
2004 | bar: January to December
2005 | bar: January to December
2006 | bar: January to December
2007 | bar: January to December
2008 | bar: January to December
2009 | bar: January to December
| 2010 | 85264.71 | 81835.57 | 74562.29 | 69824.01 | 92068.42 | 98927.17 | 104024.22 | 108346.11 | 93747.63 | 73309.84 | 79454.15 | 90848.02
| 2011 | 85965.69 | 87676.94 | 76964.05 | 68204.9429 | 75208.6821 | 91832.3496 | 98067.6208 | 96870.9642 | 87569.5526 | 71648.4925 | 72383.3621 | 79051.7855
| 2012 | 70600 | 67013 | 63375 | 58449 | 70656 | 92955 | 96769 | 89327 | 83877 | 61312 | 66201 | 69270
| 2013 | 93797.6 | 92559.6 | 85284.1 | 79153.6 | 98121.9 | 110585.9 | 121124.3 | 117842.9 | 115803.6 | 89798.7 | 90021 | 95803.3
| 2014 | 107927.3 | 101304.4 | 96058.7 | 80236 | 92600.3 | 109196.2 | 113506.9 | 113429.2 | 109527.4 | 87007 | 95703 | 91339
| 2015 | 104723 | 99159 | 95741 | 78291 | 92464 | 106054 | 118325 | 113012 | 111857 | 83186 | 82367 | 85296
| 2016 | 95920 | 91654 | 81073 | 78230 | 93952 | 111350 | 119506 | 118413 | 113557 | 89127 | 80912 | 99054
Projected | 2017E | 103867 | 95220.8 | 92406.4 | 86298.6 | 98473.7 | 116607.8 | 125000.3 | 124809.9 | 111790.7 | 91213.6 | 90038.6 | 97900.5
| 2018E | 103730.7 | 95341.4 | 91310.6 | 85249.8 | 95920.1 | 117056.7 | 125313.6 | 125568.1 | 112646.4 | 91984.3 | 90780.5 | 98608.8

## SPP
Released: November 2017
Next Update: November 2018
Table 3B.1. SPP monthly peak hour demand, by North American Electric Reliability Corporation Assesment Area,
1996-2016 actual, 2017-2018 projected
megawatts
SPP | Year | January | February | March | April | May | June | July | August | September | October | November | December
Actual | 1996 | 46801 | 46506 | 44043 | 39428 | 52072 | 56569 | 59826 | 57907 | 52017 | 41352 | 42117 | 48274
| 1997 | 26931 | 23739 | 22386 | 22283 | 24746 | 32950 | 36267 | 35024 | 33793 | 28435 | 24029 | 25020
| 1998 | 24313 | 23137 | 24878 | 22119 | 32030 | 36086 | 37383 | 36976 | 35910 | 25231 | 22274 | 26725
| 1999 | 26757 | 23604 | 23086 | 23648 | 25872 | 32783 | 37958 | 38609 | 34692 | 25745 | 22773 | 25415
| 2000 | 26415 | 25463 | 23516 | 25516 | 35188 | 34162 | 38864 | 40101 | 39246 | 30910 | 25942 | 30137
| 2001 | 28039 | 26733 | 24707 | 26240 | 32043 | 35636 | 40063 | 39782 | 34312 | 26688 | 26949 | 25951
| 2002 | 28485 | 28191 | 27833 | 28356 | 32514 | 36228 | 39125 | 39571 | 37659 | 31961 | 25788 | 27710
| 2003 | 28850 | 27922 | 26026 | 26518 | 32880 | 35810 | 39133 | 40214 | 32876 | 26372 | 25204 | 27259
| 2004 | 29010 | 27454 | 23566 | 24583 | 32878 | 36137 | 39893 | 39734 | 36117 | 27158 | 26603 | 29782
| 2005 | 29072 | 27128 | 25247 | 25656 | 34261 | 39437 | 41306 | 40771 | 37772 | 33042 | 27333 | 31764
| 2006 | 26864 | 28402 | 25548 | 31231 | 36115 | 37754 | 42556 | 42405 | 33342 | 33653 | 29699 | 30331
| 2007 | 30141 | 31028 | 25629 | 26746 | 31495 | 36775 | 38965 | 43165 | 36887 | 33537 | 26610 | 29560
| 2008 | 31294 | 30140 | 28268 | 27213 | 33650 | 38629 | 41914 | 43476 | 34823 | 27993 | 27133 | 32361
| 2009 | 31870.2165 | 29357.5471 | 27928.3066 | 27342.7961 | 30765.1649 | 41302.4299 | 41465.272 | 40392.9337 | 33748.1323 | 27269.836 | 26077.1558 | 32027.6003
| 2010 | 42495.7497 | 37893.1172 | 34099.308 | 30831.8615 | 40925.5271 | 48883.3268 | 49932.5799 | 53076.6219 | 44536.4237 | 33566.0526 | 33815.9823 | 37555.231
| 2011 | 40445.4593 | 38986.5621 | 34366.4054 | 33287.1317 | 40417.0736 | 48534.6105 | 52612.6621 | 53083.6094 | 44750.0175 | 36146.7116 | 34522.017 | 39242.4856
| 2012 | 33842.303 | 31830.66 | 29140.979 | 34423.618 | 39911.427 | 48847.069 | 49847.517 | 50246.133 | 47241.858 | 30623.088 | 30312.402 | 33281.505
| 2013 | 35317.3983 | 33891.1213 | 32610.9656 | 31552.57 | 36513.0421 | 46218.6872 | 47449.8503 | 47647.3996 | 45067.1659 | 35909.0872 | 33549.6435 | 37044.8793
| 2014 | 37845.281 | 37136.5569 | 36109.779 | 29294.3007 | 36730.194 | 41515.712 | 45053.4279 | 46076.2335 | 42660.1387 | 34267.451 | 34554.224 | 33526.536
| 2015 | 40231.5182 | 38125.3484 | 36927.1383 | 31192.2295 | 33906.8316 | 45318.0901 | 48894.0035 | 47929.0768 | 45258.9904 | 35404.2545 | 32167.9548 | 30846.9524
| 2016 | 38748.23 | 36562.031 | 32928.927 | 32909.973 | 37424.912 | 49559.558 | 51802.681 | 51882.931 | 45676.56 | 38354.744 | 34484.872 | 41533.675
Projected | 2017E | 40786.3211 | 39769.5716 | 35922.7366 | 34670.5726 | 39868.4572 | 47893.1823 | 52403.4784 | 52103.8139 | 46244.4528 | 38021.8896 | 35875.6841 | 39984.5833
| 2018E | 41215.1771 | 40329.9259 | 35913.8106 | 34630.61 | 39763.159 | 48300.956 | 52553.7458 | 52486.3212 | 46597.6529 | 38299.63 | 36194.4462 | 40855.4696

## PJM
Released: November 2017
Next Update: November 2018
Table 3B.1. PJM monthly peak hour demand, by North American Electric Reliability Corporation Assesment Area,
1996-2016 actual, 2017-2018 projected
megawatts
PJM | Year | January | February | March | April | May | June | July | August | September | October | November | December
Actual | 1996 | bar: January to December
1997 | bar: January to December
1998 | bar: January to December
1999 | bar: January to December
2000 | bar: January to December
2001 | bar: January to December
2002 | bar: January to December
2003 | bar: January to December
2004 | bar: January to December
2005 | bar: January to December
2006 | bar: January to December
2007 | bar: January to December
2008 | bar: January to December
2009 | bar: January to December
| 2010 | 109179.214 | 104915.345 | 95014.774 | 88409.15 | 110783.366 | 126201.946 | 136465.117 | 131946.462 | 127681.899 | 85652.149 | 90313.391 | 115535
| 2011 | 113912 | 109621 | 99956 | 92104 | 103609 | 139967 | 148941 | 143584 | 126463 | 101712 | 108310 | 122418
| 2012 | 122565.442 | 113997.637 | 107528.11 | 97821.804 | 130557.665 | 147915.071 | 154338.726 | 144486.456 | 129958.527 | 98761.609 | 107454.811 | 109947.899
| 2013 | 126725 | 118740 | 109671 | 101046 | 129053 | 139781 | 157509 | 137625 | 143461 | 108826 | 114699 | 124072
| 2014 | 140510.233 | 129690.523 | 126638.86 | 99179.552 | 119741.906 | 141677.933 | 139379.87 | 133390.98 | 138157.144 | 95919.772 | 120847.897 | 114047.334
| 2015 | 136197 | 143129 | 125701 | 96382 | 120840 | 137287 | 143633 | 139649 | 141209 | 94824 | 104505 | 104494
| 2016 | 129775 | 121307 | 106497 | 99868 | 121539 | 134752 | 150826 | 152177 | 142092 | 102277 | 105171 | 131021
Projected | 2017E | 131391 | 125630 | 115099 | 105560 | 120074 | 144469 | 152999 | 148808 | 129257 | 107258 | 111523 | 125798
| 2018E | 132652 | 126874 | 115332 | 110453 | 121060 | 145187 | 153951 | 149526 | 129112 | 110657 | 112483 | 127154

## NPCC
Released: November 2017
Next Update: November 2018
Table 3B.1. NPCC monthly peak hour demand, by North American Electric Reliability Corporation Assesment Area,
1996-2016 actual, 2017-2018 projected
megawatts
NPCC | Year | January | February | March | April | May | June | July | August | September | October | November | December
Actual | 1996 | 41680 | 41977 | 39414 | 35313 | 41013 | 41893 | 44773 | 44663 | 43321 | 36278 | 38992 | 39710
| 1997 | 41208 | 38891 | 37662 | 35284 | 34101 | 46477 | 49269 | 43964 | 42487 | 37597 | 39602 | 41178
| 1998 | 40009 | 39624 | 39652 | 35382 | 40210 | 47342 | 49566 | 47514 | 42358 | 36947 | 38738 | 41728
| 1999 | 44199 | 41263 | 39883 | 34260 | 35911 | 50127 | 52855 | 47762 | 45913 | 37120 | 41314 | 42166
| 2000 | 45227 | 42692 | 38729 | 36124 | 44550 | 50057 | 46310 | 49850 | 48266 | 39300 | 41036 | 43852
| 2001 | 43553 | 41919 | 40636 | 37191 | 42368 | 50289 | 53569 | 55949 | 45703 | 38398 | 39576 | 42540
| 2002 | 42039 | 41544 | 39906 | 42163 | 41008 | 51873 | 55444 | 55944 | 49324 | 43293 | 40696 | 44793
| 2003 | 45987 | 43800 | 43249 | 38921 | 36648 | 54827 | 53509 | 53540 | 43123 | 39225 | 40197 | 44257
| 2004 | 66215 | 62361 | 58055 | 54300 | 64042 | 76529 | 82615 | 79138 | 73418 | 56870 | 60680 | 67224
| 2005 | 47041 | 42949 | 43487 | 37399 | 37543 | 55720 | 58960 | 58009 | 50704 | 41854 | 41875 | 46828
| 2006 | 43661 | 43611 | 42532 | 37331 | 46113 | 52000 | 59953 | 63241 | 43207 | 40157 | 41149 | 44570
| 2007 | 45002 | 46697 | 45901 | 38936 | 46586 | 57272 | 56073 | 58314 | 51463 | 45066 | 41766 | 46024
| 2008 | 46803 | 44882 | 40421 | 37426 | 40348 | 58543 | 55919 | 50393 | 50957 | 39251 | 42111 | 45695
| 2009 | 45046.5 | 44457.1 | 43148.3 | 40609.1 | 39260.4 | 42851.4 | 50319.4 | 55943.8 | 41778.1 | 37997.5 | 39746.2 | 44864.4
| 2010 | 43849 | 42178 | 39658 | 36715 | 50251 | 54472 | 60554 | 56947 | 57377 | 39019 | 39906 | 45281
| 2011 | 44812 | 44527 | 42594 | 38797 | 43988 | 53980 | 60262 | 58820 | 49743 | 39643 | 41389 | 46788
| 2012 | 43827 | 40465 | 40179 | 37540 | 48111 | 57806 | 58319 | 55740 | 49566 | 38160 | 41074 | 42156
| 2013 | 45545.2 | 42847.7 | 40778.7 | 36990.5 | 50413.9 | 55154.9 | 61334.8 | 50286.7 | 55652.6 | 39522.4 | 41695.6 | 45908.1
| 2014 | 47072 | 43140 | 43136 | 35811 | 39420 | 48446 | 53774 | 49946 | 53497 | 38178 | 40814 | 42907
| 2015 | 45231 | 44252 | 41970 | 35976 | 43829 | 49023 | 55575 | 54759 | 55426 | 36335 | 38729 | 39411
| 2016 | 42768.4 | 42862.3 | 38575.2 | 37136.1 | 44089.6 | 46251.5 | 55603.3 | 57671.5 | 52778.8 | 37440.6 | 39129.5 | 43745
Projected | 2017E | 45756 | 43291 | 41875 | 36109 | 43524 | 53031 | 59660 | 58200 | 49570 | 38777 | 39883 | 45002
| 2018E | 45562 | 43238 | 41804 | 35961 | 43285 | 52870 | 59536 | 58081 | 49394 | 38577 | 39713 | 44744

## EIA Form 411
Interconnection | NERC Regional Assesment Area
|  | Actual | [26 empty] | Projected
|  | 1990 | 1991 | 1992 | 1993 | 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017E | 2018E | 2019E | 2020E | 2021E | 2022E | 2023E | 2024E | 2025E | 2026E | 2027E
Eastern Interconnection | FRCC | 142502 | 146903 | 147464 | 153468 | 159861 | 169021 | 173377 | 175557 | 188384 | 188598 | 196561 | 200134 | 211116 | 219021 | 220335 | 226544 | 230115 | 232405 | 226874 | 225966 | 233034 | 224064 | 220943 | 221534 | 224646 | 234489 | 234041 | 230867 | 233407 | 235517 | 238021 | 239553 | 241812 | 243938 | 246540 | 248440 | 250948 | 250948
| NPCC | 250681 | 253701 | 252256 | 257447 | 259947 | 261235 | 263125 | 264464 | 268309 | 277902 | 281518 | 282670 | 286199 | 288791 | 292724.5 | 303607 | 294319 | 301766 | 297362 | 285624.6651 | 294276 | 292481.7058 | 290914 | 292882 | 287160 | 286280 | 285179 | 283820 | 284422 | 283141 | 281192 | 278832 | 277303 | 276292 | 275484 | 274920 | 274600 | 274420
| Balance of Eastern Region | 1725276 | 1774108 | 1766746 | 1871168 | 1907338 | 1999873 | 2059485 | 2062452 | 2112728 | 2147860 | 2210739 | 2203509 | 2301321 | 2255233 | 2313180 | 2385460.853 | 2361721 | 2432474.6 | 2406730 | 2293617.2574 | 2456553.313 | 2401810.1559 | 2391745 | 2394268 | 2387853 | 2370799.11 | 2381793.8736 | 2437101.8303 | 2486517.8718 | 2494678.2 | 2502567 | 2508070.9 | 2522555 | 2535245.5 | 2550498.4 | 2565141.8 | 2579323.4 | 2596540.3
| ECAR | 442507 | 450586 | 450853 | 476644 | 487489 | 521247 | 532747 | 524414 | 535015 | 547846 | 545958 | 546167 | 567897 | 545109 | 553236 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
| MAAC | 221099 | 228588 | 226154 | 235980 | 238379 | 243043 | 243328 | 243967 | 248806 | 255741 | 262320 | 263841 | 273907 | 276600 | 283646 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
| MAIN | 197326 | 205880 | 200250 | 208340 | 213803 | 224380 | 234300 | 236143 | 244073 | 243278 | 259608 | 271053 | 279264 | 267068 | 274760 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
| MAPP | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 30690.6123 | 29232.6653 | 29362 | 29798 | 31756 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
| MISO | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 585273.9227 | 521691.6105 | 497906 | 662636 | 641290 | 659676.8 | 660862 | 693350.58 | 727495.09 | 730209.6 | 734426.8 | 737476.7 | 743245.1 | 748127.3 | 751630.1 | 756057.6 | 760001.2 | 763944.8
| MRO | 127102 | 129826 | 126881 | 131112 | 136498 | 143447 | 145479 | 151661 | 155194 | 152350 | 145981 | 144893 | 150058 | 153918 | 152975 | 216632.623 | 222748 | 217601.6 | 227536 | 213797.0313 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
| PJM | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 712730.9103 | 739754.4857 | 781247 | 791151 | 797461 | 792566 | 792313 | 814868 | 821638 | 823890 | 822831 | 820415 | 821341 | 822626 | 827522 | 831502 | 835137 | 841099
| RFC | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 1005226 | 926279 | 954700 | 936201 | 880377.0985 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
| SERC | 485205 | 501794 | 506140 | 538339 | 544945 | 572587 | 596940 | 730248 | 746538 | 768408 | 803211 | 787139 | 835319 | 826964 | 856734 | 962054.23 | 1011173 | 1049298 | 1035390 | 997142 | 870367 | 852843.0649 | 824640 | 661124 | 674054 | 668126 | 672720 | 673339 | 677048 | 681238 | 685684 | 689388 | 693376 | 698595 | 703979 | 708819 | 714335 | 720420
| SPP | 252037 | 257434 | 256468 | 280753 | 286224 | 295169 | 306691 | 176019 | 183102 | 180237 | 193661 | 190416 | 194876 | 185574 | 191829 | 201548 | 201521 | 210875 | 207603 | 202301.1276 | 257490.8676 | 258288.3296 | 258590 | 249559 | 243292 | 250430.31 | 255898.8736 | 255544.2503 | 260336.7818 | 259340.6 | 259625.2 | 260791.2 | 264592.9 | 265897.2 | 267367.3 | 268763.2 | 269850.2 | 271076.5
ERCOT | TRE | 209789 | 211568 | 210699 | 221901 | 225098 | 231440 | 243456 | 251840 | 267970 | 268622 | 286313 | 278226 | 280269 | 283868 | 289146 | 299225 | 305672 | 307064 | 312401.0845 | 308277.7595 | 319097.4005 | 335000.175 | 324860 | 331624 | 340033 | 347617.4362 | 375889.7888 | 356428.366 | 363665.1951 | 373761.9554 | 380660.7344 | 386550.8493 | 392714.5563 | 398843.5499 | 405017.8274 | 411040.9936 | 417426.7558 | 425775.2909
Western Interconnection | WECC | 558248 | 555389 | 565745 | 569319 | 586192 | 586167 | 611650 | 620629 | 625791 | 635503 | 663913 | 638746 | 666696 | 664754 | 682053 | 685624 | 720087 | 739018 | 745691 | 718694 | 713176.7606 | 727793 | 726862 | 737458 | 733664 | 728896 | 737155 | 731132 | 732688 | 737745 | 741668 | 746071 | 751940 | 757807 | 763228 | 767234 | 771575 | 775800
All Interconnections | Contiguous U.S. | 2886496 | 2941669 | 2942910 | 3073303 | 3138436 | 3247736 | 3351093 | 3374942 | 3463182 | 3518485 | 3639044 | 3603285 | 3745601 | 3711667 | 3797438.5 | 3900460.853 | 3911914 | 4012727.6 | 3989058.0845 | 3832179.682 | 4016137.474 | 3981149.0367 | 3955324 | 3977766 | 3973356 | 3968081.5463 | 4014058.6624 | 4039349.1963 | 4100700.067 | 4124843.1554 | 4144108.7344 | 4159077.7493 | 4186324.5563 | 4212126.0499 | 4240768.2274 | 4266776.7936 | 4293873.1558 | 4323483.5909
Notes: • NERC region and reliability assessment area maps are provided on EIA's Electricity Reliability web page: http://www.eia.gov/electricity/data/eia411/
• Projected data are updated annually.
• Peak load represents an hour of a day during the associated peak period.
• The Summer peak period begins on June1 and extends through September 30. • The Winter peak period begins October 1 and extends through May 31.
• Historically the MRO, RFC, SERC, and SPP regional boundaries were altered as utilities changed reliability organizations. The historical data series for these regions have not been adjusted. Instead, the Balance of Eastern Region category was introduced to to provide a consistent trend of the Eastern interconnection.
• ECAR, MAAC, and MAIN dissolved at the end-of-2005. Many of the former utility members joined RFC. ReliabilityFirst Corporation (RFC) came into existence on January 1, 2006. RFC submitted a consolidated filing covering the historical NERC regions of ECAR, MAAC, and MAIN.
• MAPP was absorbed into MISO, SPP and WECC in 2015.
• E - Estimate; NA - Not Available
Source: U.S. Energy Information Administration, Form EIA-411, "Coordinated Bulk Power Supply and Demand Program Report."

## Calculations
Seasonal Peak Month
Balancing Area | Reliability Area | Summer | Winter
CAISO | WECC | July | December
ERCOT | TRE | August | January
MISO | MISO | August | January
SPP | SPP | July | January
NYISO | NPCC | July | January
ISO-NE | NPCC | July | January
Peak Month Capacity Factors (most recent year)
Balancing Area | Electricity Source | Summer | Winter | Annual Load
CAISO | solar pv | 39% | 0% | 214955
ERCOT | solar pv | 76.32% | 6.862% | 373761.9554
MISO | solar pv | 50% |  | 730209.6
SPP | solar pv | 60.7% |  | 259340.6
NYISO | solar pv |  |  | 155848
ISO-NE | solar pv |  |  | 141514
PJM | solar pv | 60% |  | 823890
CAISO | onshore wind | 23% | 13% | 214955
ERCOT | onshore wind | 26.93% | 27.08% | 373761.9554
MISO | onshore wind | 16.6% |  | 730209.6
SPP | onshore wind | 28% |  | 259340.6
NYISO | onshore wind | 19% | 37% | 155848
ISO-NE | onshore wind | 15% | 30% | 141514
PJM | onshore wind | 17.6% |  | 823890
CAISO | solar thermal | 39% | 0% | 214955
ERCOT | solar thermal |  |  | 373761.9554
MISO | solar thermal |  |  | 730209.6
SPP | solar thermal |  |  | 259340.6
NYISO | solar thermal |  |  | 155848
ISO-NE | solar thermal |  |  | 141514
CAISO | biomass | 87% | 86% | 214955
ERCOT | biomass |  |  | 373761.9554
MISO | biomass |  |  | 730209.6
SPP | biomass |  |  | 259340.6
NYISO | biomass |  |  | 155848
ISO-NE | biomass |  |  | 141514
CAISO | geothermal | 84% | 95% | 214955
ERCOT | geothermal |  |  | 373761.9554
MISO | geothermal |  |  | 730209.6
SPP | geothermal |  |  | 259340.6
NYISO | geothermal |  |  | 155848
ISO-NE | geothermal |  |  | 141514
CAISO | hydro | 73% | 64% | 214955
ERCOT | hydro |  |  | 373761.9554
MISO | hydro |  |  | 730209.6
SPP | hydro |  |  | 259340.6
NYISO | hydro |  |  | 155848
ISO-NE | hydro |  |  | 141514
NYISO | offshore wind | 39% | 61% | 155848
ISO-NE | offshore wind | 24% | 63% | 141514
Annual Load (2019)
CAISO | 214955
ERCOT | 373761.9554
MISO | 730209.6
SPP | 259340.6
NYISO | 155848
PJM | 823890
ISO-NE | 141514

## PTCF
Unit: dimensionless (peak time capacity factors) | summer | winter
hard coal | 0.9 | 0.9
natural gas steam turbine | 0.9 | 0.9
natural gas combined cycle | 0.9 | 0.9
nuclear | 0.9 | 0.9
hydro | 0.73 | 0.64
onshore wind | 0.19995 | 0.25875
solar pv | 0.57696 | 0.043564
solar thermal | 0.39 | 0
biomass | 0.87 | 0.86
geothermal | 0.9 | 0.9
petroleum | 0.9 | 0.9
natural gas nonpeaker | 0.9 | 0.9
lignite | 0.9 | 0.9
offshore wind | 0.31862 | 0.61952
crude oil | 0.9 | 0.9
heavy or residual fuel oil | 0.9 | 0.9
municipal solid waste | 0.9 | 0.9
hard coal w CCS | 0.9 | 0.9
natural gas combined cycle w CCS | 0.9 | 0.9
biomass w CCS | 0.9 | 0.9
lignite w CCS | 0.9 | 0.9
small modular reactor | 0.9 | 0.9
hydrogen combustion turbine | 0.9 | 0.9
hydrogen combined cycle | 0.9 | 0.9